## 1. Current CWMS 1
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
Aquamatic Ltd | Portable Automatic Wastewater Samplers: Aquacell P2-COMPACT, Aquacell P2-COOLBOX, Aquacell P2- MULTIFORM. Stationary Automatic Wastewater Samplers: Aquacell S50, Aquacell S100 Aquacell S200 (formally S2R), Aquacell S310, S310H, S320 & S320H Aquacell S510, S510H, S520 & S520H | Sira MC 050059 19 | 2020-07-08 | Lift height | 0-7 (AC mains powered) | 0-5 (Battery powered) | metres | n/a |  |  |  | +44(0)161 777 6607 | sales@aquamaticsamplers.com www.aquamaticsamplers.com
Efcon Water BV | Efcon® Sampler JZ10C | Sira MC 160310 00 | 2016-11-18 |  | 0 to 4 (VS-PUM-4M pump) | 2 to 6 (VS-PUM-6M pump) | metres | n/a |  |  |  | +44(0)191 5131313 | sales@siris.co.uk www.siris.co.uk
Endress & Hauser Conducta GmbH | Stationary Sampler Liquistation CSF48/CSF28 & CSF33 | Sira MC 100176 08 | 2021-09-03 | Peristaltic pump AC Power supply | 0-8 | - | metres | n/a |  |  |  | +44(0)161 286 5000 | info@uk.endress.com www.uk.endress.com
|  |  |  | Vacuum pump AC Power supply | 0-8 | - | metres | n/a
|  |  |  | Peristaltic pump DC power supply | 0-7 | - | metres | n/a
|  |  |  | Vacuum pump DC power supply | 0-6 | 0-8 | metres | n/a
Endress & Hauser Conducta GmbH | Portable Sampler Liquiport 2010 CSP44 | Sira MC 100177 06 | 2021-01-15 | CSP44 Suction head | 0-7 | - | metres | n/a |  |  |  | +44(0)161 286 5000 | info@uk.endress.com www.uk.endress.com
HACH LANGE GmbH | HACH LANGE BUHLER Automatic Wastewater Sampler Models 4010 to 4012 4210 to 4212 4410 to 4412 HACH LANGE BUHLER Automatic Wastewater Samplers installed in Model 6010 Measuring Stations | Sira MC 120203 01 | 2020-06-12 | Lift height | 0-7 | - | metres | n/a |  |  |  | +44(0)161 8721487
SIRCO Controls Ltd | GENIE-B/UWWTR, GENIE-B, GENIE-J/UWWTR, GENIE-J Portable Automatic Waste Water Samplers | Sira MC 070105 06 | 2022-03-14 | Lift height | 0-7 | - | metres | n/a |  |  |  | +44(0)1702 545125 | paul@sirco-controls.co.uk
SIRCO Controls Ltd | GENIE-M/UWWTR, GENIE-M, GENIE-M/R, GENIE-M/VBV, GENIE-M/R/VBV, GENIE-K, GENIE-P & GENIE-P/VBV Fixed Automatic Waste Water Samplers | Sira MC 070106 08 | 2022-03-14 | Lift height | 0-7 | - | metres | n/a |  |  |  | +44(0)1702 545125 | paul@sirco-controls.co.uk www.sirco-controls.co.uk
Teledyne Isco Inc | ISCO 5800 Automatic Waste Water Sampler | Sira MC 130227 02 | 2019-03-22 | Lift height | 0-6 | - | metres | n/a |  |  | +1 (402) 464 0231 | +44(0)1527 882060 | matthew.brownhill@teledyne.com www.teledyneisco.com
Teledyne Isco Inc | ISCO 6712 Portable Water and Waste Water Sampler | Sira MC 140243 03 | 2019-11-18 | Lift height | 0-6 | - | metres | n/a |  |  | +1 (402) 464 0231 | +44(0)1527 882060 | matthew.brownhill@teledyne.com www.teledyneisco.com
Teledyne Isco Inc | ISCO 3700 Portable Water and Waste Water Sampler | Sira MC 140245 02 | 2019-11-18 | Lift height | 0-3.7 | - | metres | n/a |  |  | +1 (402) 464 0231 | +44(0)1527 882060 | matthew.brownhill@teledyne.com www.teledyneisco.com | `
Teledyne Isco Inc | Platinum QLS Refrigerated Sampler & Platinum CVE Refrigerated Sampler | Sira MC 180338 00 | 2018-12-14 | Lift height | 0-8.5 | - | metres | n/a |  |  | +1 (402) 464 0231 | +44(0)1527 882060 | matthew.brownhill@teledyne.com www.teledyneisco.com