## 1. Current CWMS 1
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
Aquamatic Ltd | Portable Automatic Wastewater Samplers: Aquacell P2-COMPACT, Aquacell P2-COOLBOX, Aquacell P2- MULTIFORM. Stationary Automatic Wastewater Samplers: Aquacell S50, Aquacell S100 Aquacell S200 (formally S2R), Aquacell S310, S310H, S320 & S320H Aquacell S510, S510H, S520 & S520H | Sira MC 050059 19 | 2020-07-08 | Lift height | 0-7 (AC mains powered) | 0-5 (Battery powered) | m | n/a | MCERTS Performance Standards and Test Procedures for Continuous Water Monitoring Equipment – Part 1 | version 4, April 2017 |  | +44(0)161 777 6607 | sales@aquamaticsamplers.com www.aquamaticsamplers.com
Endress & Hauser Conducta GmbH | Stationary Sampler Liquistation CSF48/CSF28 & CSF33 | Sira MC 100176 08 | 2021-09-03 | Peristaltic pump ( AC Power supply) | 0-8 (10mm ID tube) | - | m | n/a | Performance Standards and Test procedures for Continuous Water Monitoring Equipment. Part 1 – Performance standards and test procedures for Automatic Water Sampling Equipment | version 4, April 2017 |  | +44(0)161 286 5000 | info@uk.endress.com www.uk.endress.com
|  |  |  | Vacuum pump (AC Power supply) | 0-8 (10mm ID tube and 13mm ID tube) | - | m | n/a
|  |  |  | Peristaltic pump (DC power supply) | 0-7 (10mm ID tube) | - | m | n/a
|  |  |  | Vacuum pump (DC power supply) | 0-6 (13mm ID tube) | 0-8 (10mm ID tube) | m | n/a
Endress & Hauser Conducta GmbH | Portable Sampler Liquiport 2010 CSP44 | Sira MC 100177 06 | 2021-01-15 | CSP44 Suction head | 0-7 | - | m | n/a | Performance Standards and Test procedures for Continuous Water Monitoring Equipment. Part 1 – Performance standards and test procedures for Automatic Water Sampling Equipment | version 4, April 2017 |  | +44(0)161 286 5000 | info@uk.endress.com www.uk.endress.com
HACH LANGE GmbH | HACH LANGE BUHLER Automatic Wastewater Sampler Models 4010 to 4012 4210 to 4212 4410 to 4412 HACH LANGE BUHLER Automatic Wastewater Samplers installed in Model 6010 Large Measuring Station | Sira MC 120203 02 | 2022-09-20 | Lift height | 0-7 | - | m | n/a | Performance Standards and Test Procedures for Continuous Water Monitoring Equipment, Part 1: Performance standards and test procedures for Automatic Water Sampling Equipment, Environment Agency | version 4, April 2017 |  | +44(0)161 8721487
SIRCO Controls Ltd | GENIE-B/UWWTR, GENIE-B, GENIE-J/UWWTR, GENIE-J Portable Automatic Waste Water Samplers | Sira MC 070105 06 | 2022-03-14 | Lift height | 0-7 | - | m | n/a | Performance Standards and Test Procedures for Continuous Water Monitoring Equipment, Part 1: Performance standards and test procedures for Automatic Water Sampling Equipment, Environment Agency | version 4, April 2017 |  | +44(0)1702 545125 | paul@sirco-controls.co.uk
SIRCO Controls Ltd | GENIE-M/UWWTR, GENIE-M, GENIE-M/R, GENIE-M/VBV, GENIE-M/R/VBV, GENIE-K, GENIE-P & GENIE-P/VBV Fixed Automatic Waste Water Samplers | Sira MC 070106 08 | 2022-03-14 | Lift height | 0-7 | - | m | n/a | Performance Standards and Test Procedures for Continuous Water Monitoring Equipment, Part 1: Performance standards and test procedures for Automatic Water Sampling Equipment, Environment Agency | version 4, April 2017 |  | +44(0)1702 545125 | paul@sirco-controls.co.uk www.sirco-controls.co.uk
Teledyne Isco Inc | ISCO 5800 Automatic Waste Water Sampler | CSA MC 130227 03 | 2023-07-07 | Lift height | 0-6 | - | m | n/a | MCERTS Performance Standards for Continuous Water Monitoring Equipment – Part 1 | version 4 dated April 2017 | +1 (402) 464 0231 | +44(0)1527 882060 | matthew.brownhill@teledyne.com www.teledyneisco.com
Teledyne Isco Inc | ISCO 6712 Portable Water and Waste Water Sampler | CSA MC 140243 04 | 2023-07-07 | Lift height | 0-6 | - | m | n/a | MCERTS Performance Standards for Continuous Water Monitoring Equipment – Part 1 | version 4 dated April 2017 | +1 (402) 464 0231 | +44(0)1527 882060 | matthew.brownhill@teledyne.com www.teledyneisco.com
Teledyne Isco Inc | ISCO 3700 Portable Water and Waste Water Sampler | Sira MC 140245 02 | 2019-11-18 | Lift height | 0-3.7 | - | m | n/a | MCERTS Performance Standards for Continuous Water Monitoring Equipment – Part 1 | version 4 dated April 2017 | +1 (402) 464 0231 | +44(0)1527 882060 | matthew.brownhill@teledyne.com www.teledyneisco.com | `