## 10. Current CAMS
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
AMA Instruments GmbH | GC 4000 (PID) for Benzene | Sira MC 220411 00 | 2022-11-18 | Benzene | 0-50 | - | µg/m3 | n/a
Chromatotec | GC 866 PID airToxic (Model A73022) | Sira MC 130230 06 | 2019-07-15 | Airborne Benzene Vapour | 0-50 | - | µg/m3 | n/a |  |  |  |  | www.chromatotec.com
Chromatotec | GC 866 FID airmoVOC (Model A21022) | Sira MC 130231 05 | 2019-07-15 | Airborne Benzene Vapour | 0-50 | - | µg/m3 | n/a |  |  |  |  | www.chromatotec.com
Comde-Derenda GmbH Ltd | Air Pollution Monitor 2 (APM-2) | Sira MC 200368 00 | 2021-03-24 | PM10 | 0-1000 | - | µg/m3 | n/a |  |  | (+49)33296902720
|  |  |  | PM2.5 | 0-1000 | - | µg/m3 | n/a
Ecotech Pty Ltd | Serinus 10 O3 Analyser | Sira MC 100165 08 | 2021-02-24 | O3 | 0-250 | - | ppb | n/a |  |  | (+61 3) 9730 7800 |  | enquiries@ecotech.com.au www.ecotech.com.au
Ecotech Pty Ltd | Serinus 30 CO Analyser | Sira MC 100166 08 | 2021-02-24 | CO | 0-100 | - | µg/m3 | n/a |  |  | (+61 3) 9730 7800 |  | enquiries@ecotech.com.au www.ecotech.com.au
Ecotech Pty Ltd | Serinus 40 NOx Analyser | Sira MC 100167 08 | 2021-02-24 | NO | 0-1200 | - | µg/m3 | n/a |  |  | (+61 3) 9730 7800 |  | enquiries@ecotech.com.au www.ecotech.com.au
|  |  |  | NO2 | 0-500 | - | µg/m3
Ecotech Pty Ltd | Serinus 50 SO2 Analyser | Sira MC 100168 09 | 2021-02-24 | SO2 | 0-1000 | - | µg/m3 | n/a |  |  | (+61 3) 9730 7800 |  | enquiries@ecotech.com.au www.ecotech.com.au
Envea | Multi-gas Micro Monitoring Station (MMS) Portable version | Sira MC 090161 04 | 2019-11-13 | CO O3 NO NO | 0-60, 0-100 mg/m3 0-360, 0-500 0-1200 0-400, 0-500 | - | µg/m3 | n/a |  |  | +33 (0)1392 23800 | +44 (0)151 666 8300 CBISS Ltd (UK agent) | www.cbiss.com
FAI Instruments S.r.l | SWAM 5a 24 hour Dual Channel Monitor with both PM10 and PM2.5 preseparators; SWAM 5a 24 hour Single Channel Monitor with PM10 preseparator; SWAM 5a 24 hour Single Channel Monitor with PM2.5 preseparator; SWAM 5a 1 hour Dual Channel Monitor with both PM10 and PM2.5 preseparators. | Sira MC 150272 03 | 2020-09-25 | PM10 | 0-200 | - | µg/m3 | n/a |  |  | +39 069050248 |  | info@fai-instruments.it
|  |  |  | PM2.5 | 0-200 | - | µg/m3
GRIMM Aerosol Technik Pouch GmbH | EDM 180 for PM10 and PM2.5 EDM 180+ for PM10 and PM2.5 | Sira MC 120198 05 | 2022-06-10 | PM10 | 0-6000 | - | µg/m3 | n/a |  |  | (49) 08654-5780 |  | friedhelm.schneider@grimm.durag.com
|  |  |  | PM2.5 | 0-6000 | - | µg/m3
Horiba Limited | APDA-372and APDA-372E | Sira MC 210386 00 | 2021-10-15 | PM2.5 | 0-10000 | - | µg/m3 | n/a |  |  |  | +44(0)1604 542500
|  |  |  | PM10 | 0-10000 | - | µg/m3
Horiba Limited | Model APMA 370 CO analyser | Sira MC 070089 05 | 2022-05-23 | CO | 0-60 | 0-100 | mg/m3 | n/a |  |  |  | +44(0)1604 542500 | keith.jinks@horiba.com
Horiba Limited | Model APNA 370 NOx analyser | Sira MC 070090 05 | 2022-05-23 | NO | 0-1200 | - | µg/m3 | n/a |  |  |  | +44(0)1604 542500 | keith.jinks@horiba.com
|  |  |  | NO2 | 0-400 | 0-500 | µg/m3
Horiba Limited | Model APSA 370 SO2 analyser | Sira MC 070091 05 | 2022-05-23 | SO2 | 0-700 | 0-1000 | µg/m3 | n/a |  |  |  | +44(0)1604 542500 | keith.jinks@horiba.com
Horiba Limited | Model APOA 370 O3 analyser | Sira MC 070092 05 | 2022-05-23 | O3 | 0-360 | 0-500 | µg/m3 | n/a |  |  |  | +44(0)1604 542500 | keith.jinks@horiba.com
MetOne Instruments Inc | Ambient Air Quality Measuring System BAM-1020 | Sira MC 100185 02 | 2021-02-16 | PM10 | 0-1000 | - | µg/m3 | n/a |  |  |  |  | www.metone.com
Opsis AB | SM200 Particulate Analyser with PM2.5 and PM10 Head | Sira MC 070109 03 | 2022-05-11 | PM2.5 | 0-200 | - | µg/m3 | n/a |  |  | +46 (0)4672 2500 | +44 (0) 1453 733200 | info@et.co.uk
|  |  |  | PM10 | 0-200 | - | µg/m3
Teledyne API | T100 UV Fluorescent SO2 Analyser / 100E UV Fluorescent SO2 Analyser | Sira MC 050067 08 | 2020-12-21 | SO2 | 0-1000 | - | µg/m3 | n/a |  |  |  | +44 (0) 1453 733200 | info@et.co.uk
Teledyne API | T200 Chemiluminescent NOx Analyser / T204 Chemiluminescent NOx Analyser / 200E Chemiluminescent NOx Analyser | Sira MC 050068 12 | 2020-12-18 | NO | 0-1200 | - | µg/m3 | n/a |  |  |  | +44 (0) 1453 733200 | info@et.co.uk
|  |  |  | NO2 | 0-500 | - | µg/m3
Teledyne API | T300 Gas Filter Correlation CO Analyser / 300E Gas Filter Correlation CO Analyser | Sira MC 050069 08 | 2020-12-21 | CO | 0-100 | - | mg/m3 | n/a |  |  |  | +44 (0) 1453 733200 | info@et.co.uk
Teledyne API | T400 UV Photometric Ozone Analyser / 400E UV Photometric Ozone Analyser | Sira MC 050070 09 | 2020-12-21 | O3 | 0-500 | - | µg/m3 | n/a |  |  |  | +44 (0) 1453 733200 | info@et.co.uk
Teledyne API | T500U CAPS NO2 Analyser | Sira MC 160304 01 | 2021-07-14 | NO2 | 0-500 | - | µg/m3 | n/a |  |  |  | +44 (0) 1453 733200 | info@et.co.uk
Teledyne API | N500 CAPS NOx-NO2-NO Gas Analyser | Sira MC 220407 00 | 2022-06-30 | NO | 0-1200 | - | µg/m3 | n/a |  |  |  | +44 (0) 1453 733200 | info@et.co.uk
|  |  |  | NO2 | 0-500 | - | µg/m3
Thermo Fisher Scientific | Model 42i NO/NOx analyser | Sira MC 070093 07 | 2022-01-10 | NO | 0-1000 | - | ppb | n/a |  |  |  | +44 (0) 1606 548700 | orders.EPM.europe@thermofisher.com www.thermofisher.com
|  |  |  | NO2 | 0-250 | - | ppb
Thermo Fisher Scientific | Model 43i SO2 analyser | Sira MC 070094 07 | 2022-01-10 | SO2 | 0-400 | - | ppb | n/a |  |  |  | +44 (0) 1606 548700 | orders.EPM.europe@thermofisher.com www.thermofisher.com
Thermo Fisher Scientific | Model 48i CO analyser | Sira MC 070095 07 | 2022-01-10 | CO | 0-100 | - | ppm | n/a |  |  |  | +44 (0) 1606 548700 | orders.EPM.europe@thermofisher.com www.thermofisher.com
Thermo Fisher Scientific | Model 49i O3 analyser | Sira MC 070096 07 | 2022-01-10 | O3 | 0-250 | - | ppb | n/a |  |  |  | +44 (0) 1606 548700 | orders.EPM.europe@thermofisher.com www.thermofisher.com
Thermo Fisher Scientific | 42iQ NO-NO2-NOX Analyzer | Sira MC 200354 00 | 2020-07-14 | NO | 0-1200 | - | µg/m3 | n/a |  |  |  | +44 (0) 1606 548700 | orders.EPM.europe@thermofisher.com www.thermofisher.com
|  |  |  | NO2 | 0-500 | - | µg/m3
Thermo Fisher Scientific | 43iQ Sulphur Dioxide Analyzer | Sira MC 200355 00 | 2020-07-14 | SO2 | 0-1000 | - | µg/m3 | n/a |  |  |  | +44 (0) 1606 548700 | orders.EPM.europe@thermofisher.com www.thermofisher.com
Thermo Fisher Scientific | 48iQ Carbon Monoxide Analyzer | Sira MC 200356 00 | 2020-07-14 | CO | 0-100 | - | µg/m3 | n/a |  |  |  | +44 (0) 1606 548700 | orders.EPM.europe@thermofisher.com www.thermofisher.com
Thermo Fisher Scientific | 49iQ Ozone Analyzer | Sira MC 200357 00 | 2020-07-14 | O3 | 0-500 | - | µg/m3 | n/a |  |  |  | +44 (0) 1606 548700 | orders.EPM.europe@thermofisher.com www.thermofisher.com
We Care 4 Air Ltd | Aeris AE9810 & AE2010 Ozone Analyser | Sira MC 170297 02 | 2022-04-26 | O3 | 0-500 | (0-250 nmol/mol) | µg/m3 | n/a |  |  |  | +44 (0)1279 730029 | hello@wecare4air.com www.wecare4air.com
We Care 4 Air Ltd | Aeris AE9830 & AE2030 CO Analyser | Sira MC 170298 02 | 2022-04-26 | CO | 0-100 | (0 – 86 µm/mol) | mg/m3 | n/a |  |  |  | +44 (0)1279 730029 | hello@wecare4air.com www.wecare4air.com
We Care 4 Air Ltd | Aeris AE9841 & AE2041 NOx Analyser | Sira MC 170299 02 | 2022-04-26 | NO | 0-1200 | (0 – 962 nmol/mol) | µg/m3 | n/a |  |  |  | +44 (0)1279 730029 | hello@wecare4air.com www.wecare4air.com
|  |  |  | NO2 | 0-1200 0-500 | (0 – 261 nmol/mol) | µg/m3
We Care 4 Air Ltd | Aeris AE9850 & AE2050 SO2 Analyser | Sira MC 170300 02 | 2022-04-26 | SO2 | 0-1000 | (0 to 376 nmol/mol) | µg/m3 | n/a |  |  |  | +44 (0)1279 730029 | hello@wecare4air.com www.wecare4air.com