## 15. Expired CWMS 1
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
AVM b.v. | Efcon® omy SL10C Refrigerated Automatic Vacuum Sampler | Sira MC 100169 01 |  | Lift height | 0-6 | - | m | n/a | MCERTS Performance Standards and Test Procedures for Automatic Wastewater Sampling Equipment | version 2.1 dated November 2009 |  | +44(0)191 5131313 | sales@siris.co.uk www.siris.co.uk/efconomy.html
Efcon Water BV | Efcon® Sampler JZ10C | Sira MC 160310 00 |  |  | 0 to 4 (VS-PUM-4M pump) | 2 to 6 (VS-PUM-6M pump) | m | n/a | MCERTS Performance Standards for Continuous Water Monitoring Equipment, Automatic Water Sampling Equipment Part 1 | version 3.1 dated July 2015 |  | +44(0)191 5131313 | sales@siris.co.uk www.siris.co.uk
Endress & Hauser Ltd | ASP Station 2000 Automatic Wastewater Sampler (Vacuum System) | Sira MC 070117 02 |  | Lift height | 0-7 | - | m | n/a | MCERTS Performance Standards for Continuous Water Monitoring Systems, Part 1 | version 2 (October 2006) |  | +44(0)161 286 5000 | info@uk.endress.com www.uk.endress.com
HACH LANGE GmbH | HACH LANGE BUHLER Automatic Wastewater Sampler Models 4010 to 4013 4210 to 4213 4410 to 4413 HACH LANGE BUHLER Automatic Wastewater Samplers installed in Model 4110 to 4123 Model 6010 Measuring Stations | Sira MC 060084 00 |  | Lift height | 0-7 | - | m | n/a | MCERTS Performance Standards for Continuous Water Monitoring Systems, Part 1 | version 1 (Feb 2003) |  | +44(0)161 8721487
HACH LANGE GmbH | HACH LANGE BUHLER 1000 Wastewater Sampler | Sira MC 080129 00 |  | Lift height | 0-7 | - | m | n/a | MCERTS Performance Standards and Test Procedures for Automatic Wastewater Sampling Equipment | version 2 dated October 2006 |  | +44(0)161 8721487
Teledyne Isco Inc | ISCO 6712FR Refrigerated Automatic Sampler | Sira MC 060079 04 |  | Lift height | 0-7 | - | m | n/a | MCERTS Performance Standards for Continuous Water Monitoring Systems, Part 1 | version 1 (Feb 2003) | +1 (402) 464 0231 | +44 (0)114 272 2270 +44(0)1527 882060 | iscoInfo@teledyne.com www.isco.com
Teledyne Isco Inc | Glacier Refrigerated Automatic Sampler Glacier Portable Automatic Sampler with Ice-pack cooler | Sira MC 060080 03 |  | Lift height | 0-4 | - | m | n/a | MCERTS Performance Standards for Continuous Water Monitoring Systems, Part 1 | version 1 (Feb 2003) | +1 (402) 464 0231 | +44 (0)114 272 2270 +44(0)1527 882060 | iscoInfo@teledyne.com www.isco.com
Teledyne Isco Inc | ISCO 4700 Automatic Waste Water Sampler | Sira MC 070114 04 |  | Lift height | 0-7 | - | m | n/a | MCERTS Performance Standards for Continuous Water Monitoring Equipment | version 2.1 (November 2009) | +1 (402) 464 0231 | +44(0)1527 882060 | iscoInfo@teledyne.com www.isco.com
Teledyne Isco Inc | Platinum QLS Refrigerated Sampler & Platinum CVE Refrigerated Sampler | Sira MC 180338 00 |  | Lift height | 0-8.5 | - | m | n/a | MCERTS Performance Standards for Continuous Water Monitoring Equipment – Part 1 | version 4 dated April 2017 | +1 (402) 464 0231 | +44(0)1527 882060 | matthew.brownhill@teledyne.com www.teledyneisco.com