## 18. Expired PWMS
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
Hach | Hyrdrolab DS5, DS5X & MS5 Sonde with Field Rugged PDA unit | Sira MC 100181 00 |  | pH | 2-12 |  |  | n/a |  |  |  | +44 (0)1246 573 480 | Sales@otthydrometry.co.uk www.ott-hydrometry.co.uk
|  |  |  | Temperature | 0-45 |  | °C
|  |  |  | Turbidity | 0-500 |  | NTU
|  |  |  | Conductivity | 0-1 | 0-100 | mS/cm
Hach Lange GmbH | HQ40D portable meter Probes: pH and conductivity | Sira MC 120213 01 |  | pH | 1-13 | - |  | n/a |  |  |  | 0161 872 1487 | sales@hach-lange.co.uk www.hach-lange.co.uk
|  |  |  | Conductivity | 0.01-500 | 0.01-200 | µS/cm
YSI Inc. | YSI Professional Plus Portable Multiparameter Water Quality Meter | Sira MC 100179 01 |  | DO (polargraphic) | 0-200 |  | % saturation | n/a |  |  |  | +44(0)1462 673 581 | www.ysihydrodata.com
|  |  |  | pH | 2-12
|  |  |  | Conductivity | 0-1 | 0-50 | mS/cm