## 2. Current CWMS 2
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
ABB Ltd | ABB ATS430 Turbidity Probe with AWT400 Controller | Sira MC 160305 01 | 2021-07-14 | Turbidity | 0-50 | 0-500 | 0-4000 | - | NTU | n/a |  |  |  | +44 (0)1453 826661 | www.abb.com
ABB Ltd | AWT420 Transmitter and 100GP and 500PRO pH sensors APS121, APS122, APS521 and APS522 | Sira MC220375 00 | 2022-05-03 | pH | 2-12 (100GP) | 2-10 (500PRO) | - | - |  | n/a |  |  |  | +44 (0)1453 826661 | www.abb.com
BioTector Analytical Systems Ltd | Hach BioTector B7000 TOC Analyzer | Sira MC 120199 05 | 2022-06-30 | TOC | 0-50 | 0-1000 | 0-10000 | - | mg/L | n/a |  |  | +353 (0) 21 4374237 |  | info@biotector.com www.biotector.com
BioTector Analytical Systems Ltd | Hach BioTector B3500 TOC Analyzer | Sira MC 130228 02 | 2018-07-24 | TOC | 0-25 | - | - | - | mg/L | n/a |  |  | +353 (0) 21 4374237 |  | info@biotector.com www.biotector.com
Endress & Hauser Conducta GmbH | CM44* transmitter with CPS11D pH Sensor | Sira MC 140246 02 | 2019-04-01 | pH | 2-10 | - | - | - |  | n/a |  |  |  | +44(0)161 286 5000 | info@uk.endress.com www.uk.endress.com
Hach Lange GmbH | SC1000 controller unit Probes: SOLITAX sc, pHD sc, LDO | Sira MC 120214 02 | 2022-09-20 | pH | 1-13 | - | - | - |  | n/a |  |  |  | 0161 872 1487 | sales@hach-lange.co.uk www.hach-lange.co.uk
|  |  |  | DO | 0-200% | 0-20mg/L | - | -
|  |  |  | Turbidity | 0-1000 | - | - | - | NTU
Pollution & Process Monitoring Ltd | Protoc 300 TOC Analyser | Sira MC 060077 06 | 2021-07-14 | TOC | 0-20 | 0-400 | - | - | mg/L | n/a |  |  |  | +44(0)1732 882044 | www.pollution-ppm.co.uk
Shimadzu Corporation | Shimadzu On-line TOC Analyzer TOC-4200 | Sira MC 160311 03 | 2021-10-06 | TOC | 0-100 | 0-500 | 0-1000 | 0-10000 | mg/L | n/a |  |  |  | +44(0)1908 552209 | info@shimadzu.co.uk www.shimadzu.co.uk