## 5. Current CEMS
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Certified Range | Certified Range | Certified Range | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
ABB AG | AO2000 Series Multigas Analysers with SCC-K NO/NO2 | Sira MC 080121 16 | 2023-01-09 | CO | 0-75 | 0-4000 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 69793040 | +44 (0)1453 826661
|  |  |  | NO | 0-100 | 0-5000 | - | - | - | - | - | mg/m3
|  |  |  | NOX | 0-150 | 0-7500 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-8000 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-100 | 0-6700 | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0- 20 | - | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0- 10 | 0-25 | - | - | - | - | - | Vol.-%
ABB AG | EL3000 Series Multigas Analysers with SCC-K NO/NO2 converter | Sira MC 080122 16 | 2023-01-09 | CO | 0-150 | 0-4000 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 69793040 | +44 (0)1453 826661
|  |  |  | NO | 0-100 | 0-5000 | - | - | - | - | - | mg/m3
|  |  |  | NOX | 0-150 | 0-7500 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-300 | 0-8000 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-100 | 0-6700 | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0- 20 | - | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0- 10 | 0-25 | - | - | - | - | - | Vol.-%
ABB Automation GmbH | AO2000-Fidas24 | Sira MC 160292 05 | 2021-12-23 | TOC | 0-15 | 0-50 | 0-150 | 0-500 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 697930 4901 | +44 (0)1453 826661
ABB Automation GmbH | AO2000-Limas21 UV | Sira MC 160293 03 | 2021-04-01 | NO | 0-25 | 0-200 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 697930 4901 | +44 (0)1453 826661
|  |  |  | NO2 | 0-50 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0 -75 | 0-300 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-%
ABB Automation GmbH | EL3000-Limas23 | Sira MC 160294 02 | 2021-04-01 | NO | 0-33.5 | 0-200 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +49 697930 4901 | +44 (0)1453 826661
|  |  |  | NO2 | 0-125 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0 -75 | 0-300 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-%
ABB Automation GmbH | EL3000-Fidas24 | Sira MC 160308 03 | 2021-12-23 | TOC | 0-15 | 0-50 | 0-150 | 0-500 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +49 697930 4901 | +44 (0)1453 826661
ABB AG | ACF5000 | CSA MC 160309 06 | 2023-03-09 | CO | 0-75 | 0-300 | 0-4000 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 697930 4661 | +44 (0)1453 826661
|  |  |  | NO | 0-150 | 0-400 | 0-2000 | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-80 | 0-600 | 0-1000 | - | - | - | - | mg/m3
|  |  |  | N2O | 0-50 | 0-1000 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-300 | 0-5000 | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | 0-2000 | - | - | - | - | mg/m3
|  |  |  | HF | 0-3 | 0-6 | 0-300 | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-5 | 0-15 | 0-230 | - | - | - | - | mg/m3
|  |  |  | H2O | 0- 40 | - | - | - | - | - | - | Vol.-%
|  |  |  | CO2 | 0-30 | - | - | - | - | - | - | Vol.-%
|  |  |  | H2CO | 0-20 | - | - | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-7.5 | 0-200 | - | - | - | - | - | mg/m3
|  |  |  | TOC | 0-15 | 0-30 | 0-300 | 0-500 | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-%
ABB Ltd | Endura AZ20 / AZ30 measuring systems | Sira MC 110191 04 | 2021-11-19 | O2 | 0-25 | 0-5 | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1453 826661
ABB Ltd | StackFlowMaster System | CSA MC 180339 02 | 2023-03-24 | Velocity | 2-25 | 2-35 | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1453 826661
Ametek Land | 4650-PM | Sira MC 200369 00 | 2020-12-22 | Particulate concentration | 0-7.5 | - | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020
[5 empty] | 0-15 | - | - | - | - | - | - | mg/m3
[5 empty] | 0-100 | - | - | - | - | - | - | mg/m3
[5 empty] | 0-200 | - | - | - | - | - | - | mg/m3
AP2E | ProCeas LaserCEM | Sira MC 190347 02 | 2019-02-10 | CO | 0-75 | - | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +33 (0)4 42 61 29 40 |  | info@ap2e.com
|  |  |  | NO | 0-78 | 0-150 | 0-2008 | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-15 | 0-45 | 0-76 | - | - | - | - | mg/m3
|  |  |  | H2O | 0-30 | 0-40 | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-21 | - | - | - | - | - | - | Vol.-%
|  |  |  | SO2 | 0- 75 | 0-2858 | - | - | - | - | - | mg/m3
|  |  |  | HCL | 0- 15 | 0-98 | - | - | - | - | - | mg/m3
Auburn Systems, LLC | U3600-QAL1 | Sira MC 170330 01 | 2022-09-16 | Dust | 0-1000 | 0-10000 | 0 -100000 | - | - | - | - | pA | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | (978) 777-2460 |  | sales@auburnsys.com
Codel International Ltd | D-CEM2100 Dust Monitor | Sira MC 150283 01 | 2020-11-09 | Dust | 0-0.1 Ext.* | 0-0.3 Ext. | 0 - 1.0 Ext. | (*0 to 0.1 Ext. ≡ 0 to15 mg/m3 dust at 5m optical path length) | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 1629 814351
Codel International Ltd | V-CEM5100 Flow Monitor | Sira MC 150284 02 | 2020-11-09 | Velocity | 3 to 50 | - | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 1629 814351
Codel International Ltd | Codel GCEM 40 | Sira MC 160296 01 | 2021-08-11 | CO | 0-500 | 0-1000 | - | - | - | - | - | ppm | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 1629 814351
|  |  |  | NO | 0-500 | 0-1000 | - | - | - | - | - | ppm
|  |  |  | SO2 | 0-500 | 0-1000 | - | - | - | - | - | ppm
Dr. Födisch Umweltmesstechnik AG | MCA 04 Multi Component Analyser | Sira MC 070115 03 | 2022-06-27 | CO | 0-75 | 0-300 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 34205 75540 |  | info@foedisch.de
|  |  |  | NO | 0-200 | 0-395 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0- 300 | - | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-30 | 0-75 | - | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-50 | 0-1000 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-50 | 0-1000 | - | - | - | - | - | mg/m3
|  |  |  | H2O | 0- 40 | - | - | - | - | - | - | Vol.-%
|  |  |  | CO2 | 0-20 | - | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | mg/m3
Dr. Födisch Umweltmesstechnik AG | MCA 10 Multi Component Analyser | Sira MC 140256 06 | 2020-09-07 | CO | 0-75 | 0-300 | 0-5000 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +49 34205 75540 |  | info@foedisch.de
|  |  |  | NO | 0-80 | 0-200 | 0-400 | 0-3000 | - | - | - | mg/m3
|  |  |  | NO2 | 0-50 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-50 | 0- 3000 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-300 | 0-2500 | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | 0-5000 | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-10 | 0-50 | 0-500 | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-50 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | HF | 0- 20 | - | - | - | - | - | - | mg/m3
|  |  |  | TOC | 0-15 | 0-30 | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | 0-50 | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-40 | - | - | - | - | - | - | Vol.-%
Dr. Födisch Umweltmesstechnik AG | FMD 09 Flow Monitor | Sira MC 170329 01 | 2022-06-27 | Velocity | 2-30 | 2-60 | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 34205 75540 |  | info@foedisch.de
Dr. Födisch Umweltmesstechnik AG | MGA 12 HR | CSA MC 180342 02 | 2023-10-02 | CO | 0-125 | 0-1000 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 34205 75540 |  | info@foedisch.de
|  |  |  | NO | 0-300 | 0-1000 | - | - | - | - | - | mg/m3 | n/a
|  |  |  | SO2 | 0-200 | 0-1000 | - | - | - | - | - | mg/m3 | n/a
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-% | n/a
Dr. Födisch Umweltmesstechnik AG | PFM20 | CSA MC 220416 00 | 2022-12-22 | Dust | 0-7.5 (Certification range) | 0-15 (Supplementary range) | 0-30 (Supplementary range) | 0-250 (Supplementary range) | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 34205 75540 |  | info@foedisch.de
DURAG GmbH | D-FL 100 Flow Monitor | Sira MC 060071 04 | 2021-09-28 | Velocity | 3-30 | 3-50 | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 0405542180
DURAG GmbH | HM 1400 TRX2 Mercury Analyser | Sira MC 120193 08 | 2022-01-20 | Mercury | 0-15 | 0-45 | 0-75 | - | - | - | - | µg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 0405542180
DURAG GmbH | D-R 820F extractive dust monitor | Sira MC 120204 02 | 2022-09-16 | Particulate Concentration | 0-15 | 0-100 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 0405542180
DURAG GmbH | D-FL 220 Flow Monitor | Sira MC 140252 01 | 2019-07-12 | Velocity | 3 to 30 | - | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 4, July 1218 | +49 0405542180
DURAG GmbH | D-R 320 particulate analyser | Sira MC 140253 01 | 2019-07-19 | Dust | 0- 7.5 | 0-500 SL | 0-1000 SL | 0-4000 SL | 0-20000 SL | 0-100 SL | - | mg/m3 | n/a | MCERTS | 4, July 1218 | +49 0405542180
DURAG GmbH | D-R 290 Opacity and Dust Concentration Monitor with measuring head D-R 290 M EC2 | Sira MC 150278 01 | 2020-09-15 | Dust (optical transmission) 0 to 15 mg/m3 ≡ 0 – 0.1 Abs. | 0-0.2 | 0-0.5 | 0-1.6 | 0-100% Opacity |  |  | - | mg/m3 | n/a | MCERTS | 4, July 1218 | +49 0405542180
DURAG GmbH | D-R 808 Dust Monitor | Sira MC 170324 01 | 2022-04-28 | Dust | 0- 7.5 | 0-500 SL | 0-1000 SL | 0-4000 SL | 0-20000 SL | 0-100 SL | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 0405542180
Emerson Asia Pacific Private Limited | ASCO™ P150Q Continuous Particulate Emission Monitor | CSA MC 220415 00 | 2022-12-23 | Dust | 0-1000 | 0-10000 | 0-100000 | - | - | - | - | pA | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +65 65078650 |  | william.fan@emerson.com
Emerson Process Management Ltd | X-Stream enhanced | CSA MC 200367 02 | 2023-07-25 | CO | 0-75 | 0-3000 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 (6055) 884230
|  |  |  | NOX | 0-150 | 0-2000 | - | - | - | - | - | mg/m3 | n/a
|  |  |  | SO2 | 0-150 | 0-2500 | - | - | - | - | - | mg/m3 | n/a
|  |  |  | CO2 | 0-25 | - | - | - | - | - | - | Vol.-% | n/a
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-% | n/a
ENOTEC GmbH | OXITEC 5000+ | Sira MC 170326 01 | 2022-05-11 | O2 | 0-25 | - | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +49 (0) 4171 6672 70 | +44 (844) 247 0102 | www.enotec.de
Envea | MIR9000 Multi-gas Analyser Type 2 SEC Probe & MIR9000 CLD option Type 2 SEC Probe MDS (Module Dryer System) | Sira MC 020010 13 | 2022-01-11 | SO2 | 0-75 | 0-200 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +33 (0)1392 23800 | +44 (0)151 666 8300 | www.cbiss.com
|  |  |  | CO | 0-75 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | - | - | - | - | - | - | Vol.-%
|  |  |  | HCL | 0-15 | 0-100 | - | - | - | - | - | mg/m3
|  |  |  | NO | 0-100 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-20 | 0-200 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-10 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | CH4 | 0-10 | 0-200 | - | - | - | - | - | mg/m3
|  |  |  | NO/NOX (CLD) | 0-20 | 0-2000 | - | - | - | - | - | mg/m3
|  |  |  | NO2 (CLD) | 0-20 | 0-2000 | - | - | - | - | - | mg/m3
Envea | MIR-IS Multi-gas analyser Type 2 SEC Probe | CSA MC 040030 10 | 2024-02-13 | SO2 | 0-75 | 0-200 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +33 (0)1392 23800 | +44 (0)151 666 8300 | www.cbiss.com
|  |  |  | CO | 0-75 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | - | - | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-100 | - | - | - | - | - | mg/m3
|  |  |  | NO | 0-100 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-20 | 0-200 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-%
|  |  |  | CH4 | 0-10 | 0-200 | - | - | - | - | - | mg/m3
Envea | MIR-FT Multi-gas analyser | CSA MC 040031 12 | 2024-04-26 | CO | 0-75 | 0-300 | 0-1500 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +33 (0)1392 23800 | +44 (0)151 666 8300 | www.cbiss.com
|  |  |  | SO2 | 0-75 | 0-300 | 0-1500 | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | - | - | - | - | - | mg/m3
|  |  |  | NO | 0-150 | 0-200 | 0-600 | 0-2000 | - | - | - | mg/m3
|  |  |  | NO2 | 0-200 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-100 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-15 | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-15 | 0-50 | 0-150 | - | - | - | - | mg/m3
|  |  |  | CHOH | 0-20 | 0-30 | 0-90 | - | - | - | - | mg/m3
|  |  |  | HF | 0-3 | 0-10 |  | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | - | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-30 | 0-40 | - | - | - | - | - | Vol.-%
Envea | PCME QAL 991 Particulate Monitor and Sensor (Previously named DT-991) | Sira MC 050066 10 | 2020-09-23 | Particulates | 0-7.5 | 0-15 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +33 (0)1392 23800 | +44 (0)151 666 8300
Envea | Graphite 52M FID analyser | Sira MC 060082 11 | 2021-09-20 | TOC | 0-15 | 0-500 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +33 (0)1392 23800 | +44 (0)151 666 8300 | www.cbiss.com
Envea | PCME QAL 181 Particulate Analyser (previously LMS 181) including PCME QAL 181 SEN Sensor | Sira MC 090152 04 | 2020-10-02 | Particulates | 0-7.5 | 0-15 | 0-100 | 0-200 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1480 468200
Envea | PCME STACKFLOW 400 | Sira MC 150273 05 | 2020-09-24 | Velocity | 0-30 | - | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1480 468200
Envea | PCME QAL 260 | Sira MC 160307 03 | 2021-07-14 | Dust | 0-15 | 0-200 SLU | 0-500 SLU | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1480 468200
Envea | PCME STACKFLOW | Sira MC 160315 03 | 2021-11-23 | Gas Velocity | 2-30 | 2-50 | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1480 468200
Envea | PCME QAL 360 | Sira MC 160306 03 | 2021-07-14 | Dust | 0-75 | 0-10 SLU | 0-50 SLU | 0-100 SLU | 0-200 SLU | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1480 468200
Envea GmbH | SM-5 | CSA MC 220404 00 | 2022-11-30 | Mercury (Hg) (Certification range) | 0-5 | - | - | - | - | - | - | µg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 49 8131 505720
|  |  |  | Mercury (Hg) (Supplementary ranges) | 0-30 | 0-45 | 0-100 | 0-1000 | - | - | - | µg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 49 8131 505720
Fer Strumenti Srl | ENOX II AMS CEMS | Sira MC 160301 05 | 2019-01-15 | NO | 0-200 | 0-2000 | - | - | - | - | - | ppm | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +39 0362 231203 |  | www.fer-strumenti.com
|  |  |  | NOX | 0-200 | - | - | - | - | - | - | ppm
|  |  |  | CO | 0 -156 | 0-2000 | - | - | - | - | - | ppm
|  |  |  | CO2 | 0-15 | - | - | - | - | - | - | Vol.-%
|  |  |  | SO2 | 0-1200 | - | - | - | - | - | - | ppm
Fer Strumenti Srl | E705 AMS CEMS | Sira MC 160302 00 | 2016-07-13 | O2 | 0-25 | - | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | 3.5 June 2016 | +39 0362 231203 |  | www.fer-strumenti.com
Fer Strumenti Srl | AMS CO-NOx-O2 with Enox 5 | Sira MC 210382 02 | 2021-09-24 | CO | 0-50 | 0-300 | *expressed as NO2, corresponds to 0-50 mg/m3 | *0-400 mg/m3 expressed as NO, respectively | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +39 0362 231203 |  | www.fer-strumenti.com
|  |  |  | NOX* | 0-76.7 | 0-613.3 |  |  | - | - | - | mg/m3
|  |  |  | O2 | 1-22 | - | - | - | - | - | - | Vol.-%
Fives Pillard | Pillard LM3086 EPA and Pilard LM3086 SE | CSA MC 180335 03 | 2023-09-11 | Dust | 0-0.2 Ext* *0 - 52mg-m3 for a 5m path length | - | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +33 491809021
Fuji Electric Co Ltd | ZRE and ZRE/ZFK7 for CO, NO, SO2 and O2 | Sira MC 130224 04 | 2023-02-06 | CO | 0-125 | 0-1250 | - | - | - | - | - | mg/m3 | n/a | MCERTS | Published 20 October 2020 |  | +44 (0)1782 638491 (DRM Technic Ltd.)
|  |  |  | NO | 0-268 | 0-2680 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-571 | 0-5710 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | 0-10 | - | - | - | - | - | Vol.-%
Gasmet Technologies OY | GASMET Multi-gas analyser CX4000 with Oxitec 500 E SME 5 Oxygen analyser, DX4000 & EN4000 Multi-gas analyser | CSA MC 030014 13 | 2023-07-03 | CO | 0-75 | 0-300 | 0-1500 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +358 (0)9 7590 0400 |  | www.gasmet.fi
|  |  |  | NO | 0-150 | 0-200 | 0-600 | 0-2000 | - | - | - | mg/m3
|  |  |  | H2O | 0-30 | 0-40 | - | - | - | - | - | Vol.-%
|  |  |  | SO2 | 0-75 | 0-300 | 0-1500 | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-15 | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-200 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-100 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | - | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-%
|  |  |  | HF | 0-3 | 0-10 | - | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-15 | 0-50 | 0-150 | - | - | - | - | mg/m3
|  |  |  | CHOH | 0-20 | 0-30 | 0-90 | - | - | - | - | mg/m3
Gasmet Technologies OY | Gasmet Continuous Mercury Monitoring System (CMM) | Sira MC 170332 05 | 2023-01-10 | Hg | 0-5 | 0-10 | 0-45 | 0-100 | 0-1000 | - | - | µg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +358 (0)9 7590 0400 |  | www.gasmet.fi
Gasmet Technologies OY | CMM AutoQAL | Sira MC 200353 00 | 2020-06-11 | Hg | 0-5 | 0-10 | 0-45 | 0-100 | 0-1000 | - | - | µg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | +358 (0)9 7590 0400 |  | www.gasmet.fi
HORIBA Europe GmbH | ENDA-5000 Series Stack Gas Analysis System | CSA MC 120212 03 | 2022-12-13 | CO | 0-50 | 0-500 | - | - | - | - | - | mg/m3 | n/a | MCERTS | Published 20 October 2020 |  | +44 (0)1604 542500
|  |  |  | NOX | 0-100 | 0-1000 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-750 | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-20 | - | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-%
HORIBA Europe GmbH | PG 350E Multi-component Gas Analyser | CSA MC 130223 03 | 2023-03-24 | CO | 0-75 | 0-6250 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1604 542500
|  |  |  | CO2 | 0-20 | - | - | - | - | - | - | Vol.-%
|  |  |  | NOX | 0-205 | 0-2050 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | 0-10 | - | - | - | - | - | Vol.-%
|  |  |  | SO2 | 0-143 | 0-1430 | - | - | - | - | - | mg/m3
Kurz Instruments Inc. | K-BAR 2000B Measuring System | Sira MC 150275 01 | 2020-12-14 | Velocity | 0-30 | - | - | - | - | - | - | m/s | n/a | MCERTS | Published 20 October 2020 | +1 831-646-5911
Land Instruments International Ltd | FGA950E, FGA950, FGA940E, FGA940, FGA930E, FGA930, FGA900E, & FGA900 Flue Gas analyser | CSA MC 040019 08 | 2024-02-13 | NO | 0-200 | 0-1500 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1246 417691
|  |  |  | CO | 0-150 | 0-2500 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-12 | 0-25 | - | - | - | - | - | Vol.-%
Land Instruments International Ltd | 4500 MKIII Dust Monitor | Sira MC 150274 01 | 2020-10-20 | Dust | 0-0.2 | 0-0.1 | 0- 0.4 | 0-1.2 | - | - | - | Ext. | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44 (0)1246 417691
McMenon Engineering Services Ltd | EmissionFlowGenie | CSA MC 130222 09 | 2023-03-03 | Velocity | 2-25 | 2-35 | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1946 830612
NEO Monitors AS | LaserGas II Monitor | Sira MC 120206 02 | 2022-09-16 | HCL | 0-15 | 0-90 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +47 67 97 47 00 |  | www.neomonitors.com
|  |  |  | H2O | 0-40 | 0-30 | - | - | - | - | - | Vol.-% | n/a
NEO Monitors AS | LaserGas II Monitor | CSA MC 140244 04 | 2024-03-25 | HF (Certification range) | 0-1 | - | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +47 67 97 47 00 |  | www.neomonitors.com
|  |  |  | HF (Supplementary ranges) | 0-3 | 0-5 | - | - | - | - | - | mg/m3
NEO Monitors AS | LaserGas II Monitor | Sira MC 170328 01 | 2022-06-01 | NH3 | 0-10 | 0-15 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | +47 67 97 47 00 |  | www.neomonitors.com
|  |  |  | H2O | 0-40 | 0-30 | 0-50 | - | - | - | - | Vol.-%
Opsis AB | AR 602Z (UV) AR 650 (IR) Used either independently or in combination | Sira MC 020011 08 | 2021-03-15 | CO | 0-75 | - | - | - | - | - | - | mg/m3 | n/a | MCERTS | Published 20 October 2020 | +46 (0)4672 2500 |  | www.opsis.se www.ET.co.uk
|  |  |  | HCL | 0-15 | - | - | - | - | - | - | mg/m3
|  |  |  | H2O | 0-30 | - | - | - | - | - | - | Vol.-%
|  |  |  | HF | 0-5 | - | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | - | - | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-20 | - | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-20 | - | - | - | - | - | - | mg/m3
|  |  |  | NO | 0-150 | - | - | - | - | - | - | mg/m3
|  |  |  | Formaldehyde | 0-20 | - | - | - | - | - | - | mg/m3
|  |  |  | Phenol | 0-20 | - | - | - | - | - | - | mg/m3
|  |  |  | H2O | 0-30 | - | - | - | - | - | - | mg/m3
Opsis AB | O2000 Oxygen analyser | Sira MC 020012 06 | 2021-03-15 | O2 | 0-25 | - | - | - | - | - | - | Vol.-% | n/a | MCERTS | Published 20 October 2020 | +46 (0)4672 2500 |  | www.opsis.se www.ET.co.uk
Opsis AB | AR 602Z/Hg | Sira MC 120201 02 | 2022-09-16 | Hg | 0-45 | 0-100 | - | - | - | - | - | µg/m3 | n/a | MCERTS | Published 20 October 2020 | +46 (0)4672 2500 |  | www.opsis.se www.ET.co.uk
Opsis AB | O2000N Oxygen analyser | Sira MC 220384 00 | 2022-04-14 | O2 | 0-25 | - | - | - | - | - | - | Vol.-% | n/a | MCERTS | Published 20 October 2020 | +46 (0)4672 2500 |  | www.opsis.se www.ET.co.uk
Protea Ltd | P2000 Series Continuous Emission Monitor with Protea Control Unit | CSA MC 050060 17 | 2023-12-22 | CO | 0-150 | 0-3500 | - | - | - | - | - | mg/m3 | n/a | MCERTS | Published 20 October 2020 |  | +44 (0)1270 872 000 | sales@protea.ltd.uk www.protea.ltd.uk
|  |  |  | SO2 | 0-15 | 0-1500 | - | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-200 | 0-5000 | - | - | - | - | - | mg/m3
|  |  |  | NO | 0-240 | 0-1500 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-300 | 0-5000 | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-15 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-30 | - | - | - | - | - | - | ppm
Protea Ltd | atmosFIR | CSA MC 190346 02 | 2024-01-19 | NO | 0-80 | 0-200 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1270 872 000 | sales@protea.ltd.uk www.protea.ltd.uk
|  |  |  | NO2 | 0-50 | 0-200 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-50 |  | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-300 | - | - | - | - | - | mg/m3
|  |  |  | CO | 0-75 | 0-300 | - | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | - | - | - | - | - | - | mg/m3
|  |  |  | HF | 0-3.0 | - | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-10 | - | - | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-15 | - | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-20 | - | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-21 | - | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-30 | - | - | - | - | - | - | Vol.-%
Protea Ltd | atmosFID TOC analyser | Sira MC 200363 00 | 2020-10-29 | TOC | 0-15 | 0-30 | 0-150 | 0-500 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1270 872 000 | sales@protea.ltd.uk www.protea.ltd.uk
Rosemount, Inc. | Model 6888A Oxygen Analyser | Sira MC 140270 03 | 2019-12-16 | O2 | 0-25 | - | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 |  | +44(0)870 240 1978
Rosemount, Inc. | Oxymitter 4000 Oxygen Analyser (with operator interface LOI) | Sira MC 070087 06 | 2021-12-01 | O2 | 0-25 | - | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44(0)870 240 1978
S.K.I Schlegel & Kremer Industrieautomation GmbH | AccuFlo QAL | Sira MC 120218 02 | 2022-12-08 | Exhaust gas velocity | 2 -20 (Certification range) | 2-40 (Supplementary range) | 2-60 (Supplementary range) | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 0049 2166623170 |  | www.ski-gmbh.com
Servomex Group Ltd | Servomex 4900 Multi gas analyser | CSA MC 030013 13 | 2023-03-03 | SO2 | 0-572 | - | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1892 652181
|  |  |  | CO | 0-75 | 0-100 | - | - | - | - | - | m/s
|  |  |  | NO | 0-268 | 0-650 | - | - | - | - | - | m/s
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-%
Servomex Group Ltd | SERVOFLEX MiniMP (5200MP) Portable Analyser | CSA MC 110190 05 | 2022-12-22 | O2 | 0-25 | - | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1892 652181
SICK AG | MCS 100 E HW Multi-Component Analyser | Sira MC 040044 06 | 2019-08-09 | SO2 | 0-75 | - | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
|  |  |  | NO | 0-200 | - | - | - | - | - | - | mg/m3
|  |  |  | CO | 0-75 | - | - | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | - | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-20 | - | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-21 | - | - | - | - | - | - | Vol.-%
|  |  |  | CO2 | 0-25 | - | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-40 | - | - | - | - | - | - | Vol.-%
SICK AG | MCS 100 E PD Multi-Component Analyser | Sira MC 040045 07 | 2019-08-09 | SO2 | 0-10 | - | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
|  |  |  | NO | 0-50 | - | - | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-80 | - | - | - | - | - | - | mg/m3
|  |  |  | CO | 0-50 | - | - | - | - | - | - | mg/m3
|  |  |  | HCL | 0-10 | - | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-21 | - | - | - | - | - | - | Vol.-%
|  |  |  | CO2 | 0-25 | - | - | - | - | - | - | Vol.-%
SICK AG | SIDOR Multi Gas Analyser with Modules OXOR-E & OXOR-P | Sira MC 070107 06 | 2022-03-21 | CO | 0-75 | - | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 0049 76414690 | 01727 831121
|  |  |  | NO | 0-125 | - | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-150 | - | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-25 | 0-10 | - | - | - | - | - | Vol.-%
SICK AG | DUSTHUNTER SP100 | CSA MC 090143 06 | 2024-04-22 | Dust | 0-7.5 Certification range | 0-10 Supplementary range | 0-15 Supplementary range | 0-50 Supplementary range | 0-100 Supplementary range | 0-200 Supplementary range | 0-500 Supplementary range | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 0049 76414690 | 01727 831121
SICK AG | DUSTHUNTER SB100 | CSA MC 090144 05 | 2024-04-22 | Dust | 0-100 | 0-15 | 0-50 | 0-200 | - | - | - | SE | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 0049 76414690 | 01727 831121
SICK AG | DUSTHUNTER T200 | CSA MC 090145 04 | 2024-04-22 | Dust | 0-0.1 | 0-0.05 | 0-0.2 | 0-0.5 | 0-1.0 | - | - | Ext. | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 0049 76414690 | 01727 831121
SICK AG | GM32 In-situ Multi-Component Analyser (Cross Duct Version) | CSA MC 090146 05 | 2024-04-22 | Measuring path length 1.86m: NO | 0-70 | 0-700 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 0049 76414690 | 01727 831121
|  |  |  | Measuring path length 1.86m: SO2 | 0-75 | 0-1000 | - | - | - | - | - | mg/m3
|  |  |  | Measuring path length 1.00m: NO | 0-130.2 | 0-1302 | - | - | - | - | - | mg/m3
|  |  |  | Measuring path length 1.00m: SO2 | 0-139.5 | 0-1860 | - | - | - | - | - | mg/m3
SICK AG | DUSTHUNTER C200 | Sira MC 090150 02 | 2019-08-16 | Dust | 0-0.1 | 0-0.05 | 0-0.2 | 0-0.5 | 0-1.0 | 0-50 | - | Ext. | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 76414690 | 01727 831121
[5 empty] | 0-5 | 0-20 | 0-100 | 0-200 | - | - | - | SE
SICK AG | DUSTHUNTER T100 | Sira MC 090151 02 | 2019-08-16 | Dust | 0-0.1 | 0-0.05 | 0-0.2 | 0-0.5 | 0-1.0 | - | - | Ext. | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 76414690 | 01727 831121
SICK AG | GM32 In-situ Gas Analyser (GMP measuring probe Version) | Sira MC 100163 03 | 2020-01-27 | Measuring path length 1.25m: NO | 0-70 | 0-700 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 01727 831121
|  |  |  | Measuring path length 1.25m: SO2 | 0-75 | 0-1000 | - | - | - | - | - | mg/m3
|  |  |  | Measuring path length 1.00m: NO | 0-87.5 | 0-875 | - | - | - | - | - | mg/m3
|  |  |  | Measuring path length 1.00m: SO2 | 0-93.8 | 0-1250 | - | - | - | - | - | mg/m3
SICK AG | MAC GMS800 Multi-Component Analyser | Sira MC 100182 06 | 2020-12-21 | CO (UNOR, MULTOR) | 0-75 | 0-200 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020p | 0049 76414690 | 01727 831121
|  |  |  | NO (UNOR, MULTOR) | 0-100 | 0-250 | 0-50 | - | - | - | - | mg/m3
|  |  |  | NO2 (UNOR, MULTOR) | 0-50 | - | - | - | - | - | - | mg/m3
|  |  |  | NOX (UNOR, MULTOR) | 0-100 | - | - | - | - | - | - | mg/m3
|  |  |  | SO2 (UNOR, MULTOR) | 0-75 | 0-200 | 0-75 | - | - | - | - | mg/m3
|  |  |  | CH4 (UNOR, MULTOR) | 0-50 | - | - | - | - | - | - | mg/m3
|  |  |  | CH2 (UNOR, MULTOR) | 0-286 | - | - | - | - | - | - | mg/m3
|  |  |  | N2O (UNOR, MULTOR) | 0-50 | - | - | - | - | - | - | mg/m3
|  |  |  | CO2 (UNOR, MULTOR) | 0-25 | 0-25 | - | - | - | - | - | Vol.-%
|  |  |  | O2 (UNOR, MULTOR) | 0-25 | 0-25 | - | - | - | - | - | Vol.-%
SICK AG | MCS 100 FT Multi- Component Analyser | Sira MC 100184 07 | 2020-12-21 | SO2 | 0-75 | 0-300 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 | 0049 76414690 | 01727 831121
|  |  |  | NO | 0-200 | 0-400 | - | - | - | - | - | mg/m3
|  |  |  | CO | 0-75 | 0-300 | - | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-90 | - | - | - | - | - | mg/m3
|  |  |  | HF | 0-3 | 0-90 | - | - | - | - | - | mg/m3
|  |  |  | TOC | 0-15 | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-10 | 0-50 | - | - | - | - | - | mg/m3
|  |  |  | H2O | 0-40 | - | - | - | - | - | - | Vol.-%
|  |  |  | NO2 | 0-100 | - | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-50 | - | - | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-50 | - | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-21 | - | - | - | - | - | - | Vol.-%
SICK AG | GMS810 – FIDOR TOC analyser | Sira MC 120192 05 | 2022-02-04 | TOC | 0-15 | 0-50 | 0-150 | 0-500 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 | 0049 76414690 | 01727 831121
SICK AG | MERCEM300Z Mercury Monitoring System | CSA MC 120216 05 | 2024-01-12 | Hg | 0-10 | 0-45 | - | - | - | - | - | µg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 | 0049 76414690 | 01727 831121
SICK AG | FWE200DH Dust Monitor | CSA MC 140249 04 | 2024-04-22 | Dust | 0-7.5 | 0.15 | 0-20 SE | 0-50 | 0-100 | 0-500 | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 | 0049 76414690 | 01727 831121
SICK AG | ZIRKOR200 | Sira MC 170327 02 | 2022-03-21 | O2 | 0-25 | - | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 0049 76414690 | 01727 831121
SICK AG | GM32 LowNOx GMP | Sira MC 190345 00 | 2019-08-29 | SO2 | 0-75 | 0-1000 | 0-2500 | - | - | - | - | mg/m3 x m | n/a | MCERTS, EN15267, QAL1 | 4, July 2018 | 0049 76414690 | 1728 831121
|  |  |  | NO | 0-70 | 0-700 | 0-1302 | - | - | - | - | mg/m3 x m
SICK AG | MCS200HW/MCS200HW Ex | CSA MC 190348 01 | 2024-03-20 | CO | 0-75 | 0-10000 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 0049 76414690 | 1728 831121
|  |  |  | NO | 0-150 | 0-2500 | - | - | - | - | - | mg/m3
|  |  |  | NO2 | 0-50 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | N2O | 0-100 | 0-2000 | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | 0-2500 | - | - | - | - | - | mg/m3
|  |  |  | HCL | 0-15 | 0-3000 | - | - | - | - | - | mg/m3
|  |  |  | NH3 | 0-10 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | CH4 | 0-50 | 0-500 | - | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | - | - | - | - | - | - | Vol.-%
|  |  |  | H2O | 0-40 | - | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | - | - | - | Vol.-%
|  |  |  | TOC | 0-15 | 0-50 | 0-150 | 0-500 | - | - | - | mg/m3
SICK Engineering GmbH | FLOWSIC100 Gas Flowmeter | Sira MC 040040 05 | 2019-08-09 | Velocity | 0-20 | 0-40 | - | - | - | - | - | m/s | n/a | MCERTS, EN15267, QAL1 | 3.4, July 2012 | 0049 76414690 | 1728 831121
SICK AG | GM35 In-situ Gas Analyser Model Cross-Duct & Model Measuring Probe GMP | Sira MC 070097 04 | 2022-02-07 | Cross-Duct CO | 0-75 |  | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 | 0049 76414690 | 1728 831121
|  |  |  | Cross-Duct CO2 | 0-15 | - | - | - | - | - | - | Vol.-%
|  |  |  | Cross-Duct H2O | 0-25 | - | - | - | - | - | - | Vol.-%
|  |  |  | GMP CO | 0-225 | 0-10240 | - | - | - | - | - | mg/m3
|  |  |  | GMP CO2 | 0-22.5 | - | - | - | - | - | - | mg/m3
|  |  |  | GMP H2O | 0-25 | - | - | - | - | - | - | Vol.-%
Siemens AG | OXYMAT 6 Oxygen analyser | CSA MC 040032 07 | 02/22/2024 | O2 | 0-5 | 0-25 | - | - | - | - | - | Vol.-% | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1905 450500
Siemens AG | ULTRAMAT 23 Multi-component gas analyser | CSA MC 040033 10 | 02/22/2024 | SO2 | 0-400 | - | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1905 450500
|  |  |  | NO | 0-100 | 0-250 | 0-400 | 0-750 | - | - | - | mg/m3
|  |  |  | CO | 0-150 | 0-250 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-10 | 0-25 | - | - | - | - | - | Vol.-%
Siemens AG | ULTRAMAT 6 Multi-component gas analyser | CSA MC 040034 09 | 02/22/2024 | SO2 | 0-75 | - | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1905 450500
|  |  |  | NO | 0-100 | 0-200 | - | - | - | - | - | mg/m3
|  |  |  | CO | 0-50 | 0-75 | - | - | - | - | - | mg/m3
Siemens AG | ULTRAMAT/OXYMAT 6 Multi-component gas analyser | CSA MC 040035 08 | 02/22/2024 | SO2 | 0-75 | - | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1905 450500
|  |  |  | NO | 0-100 | 0-200 | - | - | - | - | - | mg/m3
|  |  |  | CO | 0-50 | 0-75 | - | - | - | - | - | mg/m3
|  |  |  | O2 | 0-5 | 0-25 | - | - | - | - | - | Vol.-%
Siemens AG | LDS 6 Ammonia analyser | Sira MC 060088 09 | 2021-11-22 | NH3 | 0-20 | 0-76 | 0-380 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1905 450500
|  |  |  | H2O | 0-30 | 0-40 | - | - | - | - | - | Vol.-%
Siemens AG | LDS 6 HCl analyser | Sira MC 080118 07 | 2021-11-22 | HCL | 0-15 | 0-90 | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | Published 20 October 2020 |  | +44 (0)1905 450500
|  |  |  | H2O | 0-30 | - | - | - | - | - | - | Vol.-%
Siemens AG | SIPROCESS UV600 | Sira MC 120202 03 | 2021-01-18 | NO | 0-50 | - | - | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 |  | +44 (0)1905 450500
|  |  |  | NO2 | 0-50 | - | - | - | - | - | - | mg/m3
|  |  |  | SO2 | 0-75 | - | - | - | - | - | - | mg/m3
Siemens AG | SET CEM CERT | Sira MC 160288 04 | 2021-03-19 | CO | 0-75 | 0-200 | 0-250 | 0-1000 | 0-1250 | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 |  | +44 (0)1905 450500
|  |  |  | NOX | 0-150 | 0-230 | 0-400 | 0-613 | - | - | - | mg/m3
|  |  |  | NO | 0-50 | 0-100 | 0-600 | 0-1000 | - | - | - | mg/m3
|  |  |  | NO2 | 0-50 | 0-1000 | - | 0-1250 | - | - | - | mg/m3
|  |  |  | SO2 | 0-70 | 0-75 | 0-400 | - | - | - | - | mg/m3
|  |  |  | CO2 | 0-25 | 0-30 | - | - | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | 0-5 | - | - | - | - | - | Vol.-%
Siemens AG | FIDAMAT 6 | CSA MC 170331 03 | 2022-11-23 | TOC | 0-15 | 0-50 | 0-150 | 0-500 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 |  | +44 (0)1905 450500
Siemens AG | FIDAMAT 6 Measuring System II | CSA MC 220417 00 | 2022-12-22 | TOC | 0-15 | 0-50 | 0-150 | 0-500 | 0-3000 | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 |  | +44 (0)1905 450500
Sintrol Oy | S305QAL Dust Monitor | Sira MC 200365 01 | 2021-05-21 | Dust | 0-7.5 | 0-15 | 0-100 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 |  | +35895617360
SK-Elektronik GmbH | UPAS-FID ES | Sira MC 200362 00 | 2020-11-23 | TOC | 0-15 | 0-30 | 0-100 | 0-500 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 | +49 2171 39550
SK-Elektronik GmbH | UPAS-FID PT | Sira MC 220398 00 | 2022-03-21 | TOC | 0-15 | 0-30 | 0-100 | 0-500 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 | +49 2171 39550
SK-Elektronik GmbH (Formerly Meß & Analysentechnik GbmH) | Thermo-FID TOC Analyser (Model MK, FE, ES, TG, PT & KA) | Sira MC 050062 05 | 2020-09-29 | TOC | 0-15 | 0-30 | 0-2000 | - | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 | +49 2171 39550
Testa | iFiD Rack | CSA MC 200361 01 | 2023-06-09 | TOC | 0-15 | 0-30 | 0-150 | 0-500 | - | - | - | mg/m3 | n/a | MCERTS, EN15267, QAL1 | published 20 October 2020 | 004989-1293005 |  | www.testa-fid.de