## 6. Current T-CEMS
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter | Certified Range | Certified Range | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
HORIBA Europe GmbH | PG 350E Multi-component Gas Analyser | Sira MC 130223 02 | 2018-02-27 | CO | 0-75 | - | - | - | mg/m3 | n/a | MCERTS - Annex F | 3.5, July 2016 |  | +44 (0)1604 542500
|  |  |  | NOx | 0-134 | - | - | - | mg/m3
|  |  |  | SO2 | 0-143 | - | - | - | mg/m3
|  |  |  | CO2 | 0-20 | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | Vol.-%
HORIBA Europe GmbH | PG 350 P-AMS | Sira MC 210381 00 | 2021-06-02 | CO | 0-75 | - | - | - | mg/m3 | n/a | Environment Agency Guidance "MCERTS for stack emissions monitoring equipment at industrial installations" - Dust arrestment plant monitors | Published 20 October 2020 |  | +44 (0)1604 542500
|  |  |  | NOx | 0-102.5 | - | - | - | mg/m3
|  |  |  | CO2 | 0-20 | - | - | - | Vol.-%
|  |  |  | O2 | 0-25 | - | - | - | Vol.-%
MRU GmbH | MGAPrime Q | Sira MC200366 01 | 2022-02-14 | CO | 0-220 | 0-3750 | - | - | mg/m3 | n/a | Environment Agency Guidance "MCERTS for stack emissions monitoring equipment at industrial installations" - Transportable Continuous Emissions Monitoring Systems (T-CEMS) | Published 20 October 2020 | Fuchshalde 8, Neckarsulm, 74172, Germany
|  |  |  | CO2 | 0-20 | - | - | - | Vol.-%
|  |  |  | NO | 0-270 | 0-2680 | - | - | mg/m3
|  |  |  | NO2 | 0-308 | 0-1025 | - | - | mg/m3
|  |  |  | O2 | 0-25 | - | - | - | Vol.-%
|  |  |  | N2O | 0-196 | 0-490 | - | - | mg/m3
|  |  |  | SO2 | 0-429 | 0-8571 | - | - | mg/m3
Servomex Group Ltd | SERVOFLEX MiniMP (5200MP) Portable Analyser | Sira MC 110190 04 | 2016-08-11 | O2 | 0-25 | - | - | - | Vol.-% | n/a | MCERTS - Annex F | 3.5, July 2016 |  | +44 (0)1892 652181
Testa GmbH | iFiD Mobile | Sira MC 200364 00 | 2020-11-20 | TOC | 0-15 | 0-30 | 0-150 | 0-500 | mg/m3 | n/a | Environment Agency Guidance "MCERTS for stack emissions monitoring equipment at industrial installations" - Dust arrestment plant monitors | Published 20 October 2020 |  | +44 (0)4989 1293005 | www.testa-fid.de