## 8. Current HEMS
Certificate Holder | Product(Model) | Certificate No. | Date of issue | Certified Parameter(s) | Certified Range | Certified Range | Units | Class | Standard(s)* | Version | Tel. no. | UK Sales tel. no. | Email address/Website
ecom GmbH | J2KNpro | Sira MC 190351 01 | 2020-07-16 | CO | 0-625 | 0-1250 | mg/m3 | n/a |  |  | +49 2371 9455 |  | info@ecom.de
|  |  |  | NO | 0-402 | 0-2680 | mg/m3
|  |  |  | NO2 | 0 -410 | - | mg/m3
|  |  |  | SO2 | 0-1430 | - | mg/m3
|  |  |  | CO2 | 0-20 | 0-12 | Vol.-%
|  |  |  | O2 | 0-21 | - | Vol.-%
Eurotron Instruments (UK) Ltd | RASI 800 portable emission monitoring system | CSA MC 130233 03 | 2023-10-02 | CO | 0-500 | 0-1000 | ppm | n/a |  |  |  | +44(0) 1327 871044
|  |  |  | CO2 | 0-12 | 0-20 | Vol.-%
|  |  |  | NO | 0 -300 | 0-2000 | ppm
|  |  |  | NO2 | 0-200 | - | ppm
|  |  |  | SO2 | 0-500 | - | ppm
|  |  |  | O2 | 0-21 | - | Vol.-%
MRU GmbH | NOVA plus portable emission monitoring system | CSA MC 130232 03 | 2023-10-02 | CO | 0-500 | 0-1000 | ppm | n/a |  |  | +49 7132 9962 0
|  |  |  | CO2 | 0-12 | 0-20 | Vol.-%
|  |  |  | NO | 0 -300 | 0-2000 | ppm
|  |  |  | NO2 | 0-200 | - | ppm
|  |  |  | SO2 | 0-500 | - | ppm
|  |  |  | O2 | 0-21 | - | Vol.-%
Testo Ltd | testo 350 portable flue gas analyser | CSA MC 090159 06 | 2023-10-23 | O2 | 0- 25 | - | Vol.-% | n/a |  |  |  | +44 (0)1420 544 433 | www.testo.co.uk
|  |  |  | CO | 0-500 | 0-5000 | ppm
|  |  |  | NO | 0-300 | 0-3000 | ppm
|  |  |  | NO2 | 0-500 | - | ppm
|  |  |  | SO2 | 0- 2000 | - | ppm